## TGA
TGA
Page (1/2)
Sample Name:
Method:
Operator: |  |  |  | Date:
| Protocol: |  |  | Example in protocol:
Modifications from protocol / Modifications du protocole
| Initial weight: | 0.000 mg |  | Final relative weight: | 0.000 %
| Final weight: | 0.000 mg |  | Relative weight loss: | 100.000 %
Page (2/2)
WEIGHT LOSS AT SELECTED TEMPERATURES:
Tsample | Weight | Loss | Weight | Loss
[°C] | [%] | [%] | [mg] | [mg]
This sheet imports and treats the .txt data file "as received" from the TGA measuring equipment at the LTP
To use:
- Hit the "Import raw data" button
- Select the raw data .txt file in the dialogue box. Hit "Open"
- The result is saved automatically
- It is possible to output the data at (a) given temperature(s) by inserting the desired temperature(s) from the cells G15 downwards in the TGA(raw) tab (yellow cells)
Ce fichier importe et traite les donnés .txt tels qu'obtenus de l'équipement TGA présent au LTP
Utilisation:
- Cliquer sur le button "Importer les données brutes"
- Selectionner le fichier .txt de données brutes dans le dialogue
- Le résultat est enregistré automatiquement
- Il est possible d'extraire les valeures momentanées à des températures données en entrant les températures souhaitées dans les cellules G15-G30 dans l'onglet TGA(raw) (cellules jaunes)
Import raw data Importer les données brutes
Goto TGA(raw) tab Vers l'onglet TGA(raw)
Clear old data Effacer les données
Print (default) Imprimer
CLOSE Fermer

## TGA(raw)
SAMPLE | [5 empty] | Initial sample weight [mg]:
t | Tsample | Treference | Weight | Derivate |  | Final sample weight [mg]: |  |  |  | Final relative sample weight [%]:
[s] | [°C] | [°C] | [%] | [1/s]
WEIGHT LOSS AT SELECTED TEMPERATURES
[5 empty] | Tsample | Weight | Loss | Weight | Loss
[5 empty] | [°C] | [%] | [%] | [mg] | [mg]
Back Retour