## Slide 1: Lecture 6
Microscopy

## Slide 2
z1
z2
Imaging System
Image
Object
Illumination
Diffraction limited resolution
Δx = λ/(2 NA) where NA = n sinθ
θ

## Slide 3
Let’s try to simulate an imaging system with a halftone image input!

## Slide 4
Sampled image
Fourier filter

## Slide 5: Today
Microscopy
Phase contrast (bright field, dark field)
Differential Interferometric Contrast (DIC)
Confocal microscopy
Superresolution (STED)
Ptychography

## Slide 6
F1
F2
Bright Field Microscope for an amplitude object

## Slide 7
F1
F2
Bright Field Microscope image for a phase object

## Slide 8
F1
F2
Dark Field Microscope
Circular
Block

## Slide 9
~0

## Slide 10: BPM in inhomegeneous media

## Slide 11: BPM through a cell
5 µm
5 µm
HCT-116 Cancer colon cell

## Slide 12: Z-stack of colon cancer cell

## Slide 13: BPM through a cell

## Slide 14
F
F
Phase Contrast Microscope for a cell
F
F
Circular
Phase Plate exp(jπ/2)
Field after
cell
We want to focus to this plane
Back
propagate
Goes
to BPM

## Slide 15
Phase Contrast Microscope for a cell
F
F
F
F
Back
propagate

## Slide 16: Differential Interferometric Contrast (DIC)

## Slide 17
F1
4F Imaging System
F2
F2
Fourier
Transform
Fourier
Transform
F1
M=-F2/F1
PSF
MTF

## Slide 18
Axial resolution
Z

## Slide 19: Confocal vs Wide field images

## Slide 20
F1
F2
x
z
y
Confocal

## Slide 21
F1
F2
Scanning
the sample in XYZ
x
z
y
Confocal

## Slide 22: STED superresolution microscopy

## Slide 23
Propagation profile
Output
Input
Amplitude
Phase
λ = 800nm
Donut beam with plane phase

## Slide 24
Propagation profile
Output
Input
Amplitude
Phase
Ring with a “particular” phase

## Slide 25
100μm
20mm
Propagation profile
Output
Input
Amplitude
Phase
λ = 800nm
Vortex

## Slide 26
100μm
20mm
λ = 800nm
Propagation profile
Output
Input
Amplitude
Phase
Converging vortex, cannot fill the center
D. Psaltis, Optical Waves Propagation – EPFL, Fall semester 2013

## Slide 28
Ptychography

## Slide 29: Ptychography

## Slide 31
Ptychography