## Slide 1: Emergency procedure
Immediately activate the building fire alarm system or call 115 ou au 021 693 3000
Assist any person in immediate danger to safety.
Use a nearby fire extinguisher to control and extinguish the fire.
Report: remaining persons in the building and any particular danger.
Close all doors and windows
Don ’t use elevators

## Slide 2: EVACUATION
On evacuation alarm
Close all doors and windows
Follow the emergency exit signs.
Don’t go back
Join the meeting zone
Don’t use elevators